## EchoMRI data
Study Condition | [6 empty] | Abbrevations | [6 empty] | Contact and Grant Acknowledgement
1. Temperature: |  |  |  | 21.6 |  |  | EchoMRI 4in1-500 | [6 empty] | 1. If you have any questions regarding the study procedures and the calculation
2. Humidity: |  |  |  | 21% |  |  | 1. System test for mice: |  |  | Completed successfully |  |  |  | equations, please contact me at: (734) 232-8223 or nathanqi@med.umich.edu
3. Sound (backgroud): |  |  |  | 70dB |  |  | 2. System calibration tests:
4. Dark/Light cycle: |  |  |  | 6:00pm-6:00am |  |  |  | Reference sample |  |  | Measuring envionment |  |  | 2. If you have any questions regarding the charges of the services or other administrative
5. Strain/gender |  |  |  | C57BL/6J; Male |  |  | Date | Khz |  |  | Temp (°C) | Humidity | Clock time | work, please contact Zhe Wu at: (734) 764-7043 or zhewu@med.umich.edu
6. Groups |  |  |  | 1) |  |  | 2025-08-18 | 4500.366 | 0.0002 | 0.0316 | 22.3 | 54% | 10:00:00AM
|  |  |  | 2) |  |  | 2025-08-25 | 4500.796 | 0.002 | 0.0322 | 22.3 | 53% | 10:15:00AM | 3. If you include these results in any publications, please mention us as the "University of
Michigan Animal Phenotyping Core" for conducting the study. The study was supported
7. Diet: |  |  |  | 1) Lab Diet 5LOD | [9 empty] | by grants U2CDK135066 (MMPC-Live), DK020572 (MDRC), and DK089503 (MNORC).
(%, Protein/Carbohydrate/Fat) |  |  |  | (24.1/48.1/5.1)
Our productivity and effectiveness as a Core is measured in part by the citation of the
grants in published work.
Date and time:
|  |  |  | BW | Fat | Lean | Free H2O | Total H2O | Fat | Lean | Free H2O | Total H2O | Hydration
| # | Sex/Age | ID | (g) | (g) | (g) | (g) | (g) | (%) | (%) | (%) | (%) | (%)
Group 1: | 1 | M 24-25wks | 473 | 32.4 | 2.71 | 28.3 | 0.1 | 23.87 | 8.3642 | 87.3457 | 0.30864 | 73.6728 | 83.9929
| 2 | M 24-25wks | 474 | 33.6 | 3.74 | 28.26 | 0.38 | 24.46 | 11.131 | 84.1071 | 1.131 | 72.7976 | 85.2088
| 3 | M 24-25wks | 475 | 33.3 | 3.2 | 27.63 | 0.19 | 23.57 | 9.6096 | 82.973 | 0.57057 | 70.7808 | 84.6182
| 4 | M 24-25wks | 496 | 30.3 | 3.06 | 25.94 | 0.13 | 21.41 | 10.099 | 85.6106 | 0.42904 | 70.6601 | 82.0355
| 5 | M 24-25wks | 497 | 34.2 | 1.61 | 30.86 | 0.21 | 26.47 | 4.7076 | 90.2339 | 0.61404 | 77.3977 | 85.094
| 6 | M 24-25wks | 498 | 32.7 | 3.32 | 27.77 | 0.2 | 23.84 | 10.1529 | 84.9235 | 0.61162 | 72.9052 | 85.1278
| 7 | M 24-25wks | 499 | 33 | 4.08 | 27.85 | 0.09 | 23.33 | 12.3636 | 84.3939 | 0.27273 | 70.697 | 83.447
| 8 | M 24-25wks | 500 | 35 | 1.72 | 31.65 | 0.61 | 27.63 | 4.9143 | 90.4286 | 1.7429 | 78.9429 | 85.3712
9
10
11
12
13
14
15
|  |  | Avg | 33.0625 | 2.93 | 28.5325 | 0.23875 | 24.3225 | 8.9178 | 86.252 | 0.71006 | 73.4817 | 84.3619
|  |  | se | 0.49278 | 0.31269 | 0.65257 | 0.062061 | 0.68193 | 0.98408 | 0.99532 | 0.17493 | 1.1101 | 0.40773
Group 2: | 1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
|  |  | Avg | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | se | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | (G1 vs G2) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Experimental Notes:
All mice appeared healthy during the measurement. Mice were measured the same day after transfer.

## Q's & A's
1. Body composition scan:
Body fat, lean mass, free water, and total water were measured using an NMR-based analyzer (EchoMRI, 4in1-500). The measurements took less than
2 minutes while conscious mice or rats were placed individually in the measuring tube. The machine is daily checked using a reference sample (canola oil)
as recommended by the manufacturer.
Isolated fresh tissues or organs were measured after being warmed up and maintained at 37 C.
2. Q's & A's:
How do the EchoMRI™ systems measure fat, lean, free water, and total water?
NMR instruments for composition analysis create contrast between soft tissues by taking advantage of the differences in relaxation times of the hydrogen proton spins in different environments. Radio pulses cause proton spins to precess and emit radio signals which are then received and analysed. The amplitude, duration, and spatial distribution of these signals are related to properties of the material scanned. The high contrast between fat, lean, and free water is further enhanced by application of specially composed radio pulse sequences.
What are Fat, Lean, Free Water, and Total Water as measured by EchoMRI™ systems?
Fat is the mass of all the fat molecules in the body expressed as equivalent weight of canola oil. Lean is a muscle tissue mass equivalent of all the body parts containing water, excluding fat, bone minerals, and such substances which do not contribute to the NMR signal, such as hair, claws, etc.
Contributions to Free Water come mostly from the bladder. In experiments, for a limited time, water can be detected after it is injected into abdominal cavity of an animal, until it gets absorbed.
Total Water includes both the Free Water and the water contained in Lean, that is all the water in the body. For normal animals, the hydration ratio (Total Water - Free Water) / Lean is typically within a few percent of 80%.
How the weight of an animal compares with the sum of the measured components.
The general formula is(Weight) = (Lean) + (Fat) + (Free Water) + (Undetectable substances) + (Systematic Errors)
where the undetectable substances such as bone mineral content, claws, hair, etc do not contribute to the NMR signal detected by the system.
What organs contribute to lean mass?
All organs contribute to lean mass.
Why the sum of Fat, Lean, and Total Water is larger than the weight of an animal scanned?
Most of the Total Water is already included in Lean and so counted twice in the sum of Fat, Lean, and Total Water.
What size of animals can be scanned?
For small animals, organs and samples, our currently standard mass limits per holder are 0.3g for small tissue samples, 10g and 25g for organs, tissue samples, and very small animals, 100g, 130g, and 200g for mice-size animals, 300g, 500g, 700g, and 900g for rat-size animals (EchoMRI-4in1™).
How is an animal scanned?
To be measured, an animal is placed in a specially sized, clear plastic holder without sedation or anesthesia. The holder is then inserted into a tubular space in the side of the EchoMRI™ system. The researcher then either presses a key on the keyboard or clicks a button on the LCD screen, and the scan starts.
Can the animals move in the holders?
Animals are scanned without anesthesia, sedation, or restraint and so are free to move in the holders. It is best to use holders of the smallest volume that can hold the animal, to restrict its movement and so reduce the measurement errors caused by motion.
What are the benefits of EchoMRI™ systems?
1) No anesthesia or restraints are needed
The fact that the animals can be scanned alive, awake, and unrestrained makes the measurements much more comfortable for both the animals and their handlers. An important benefit from this is that animals can be scanned as frequently as needed without undue stress or other effects on their health and well-being.
2) Short scan duration
In most typical cases, the scan can be completed in less than a minute if water is not included or a minute and a half if water is measured too.
3) Unsurpassed precision
The repeatability of measurement results is superior to any alternative methods that have been compared with EchoMRI™ so far.
What is the difference between measuring body composition by EchoMRI™ in a mouse and in a human (or in animals of substantially different sizes)?
The methodology is exactly the same for all our systems, regardless of subject size. The hardware needs to be different for different sizes, including the optimal choice of magnetic field strength and of the nature of the magnets, permanent or electric.
EchoMRI, 4in1-500